## Slide 1: HERON: Full IES Simulation
Dylan McDowell
Modeling & Simulation Engineer
Idaho National Laboratory
FORCE Overview and Training
April 4-6, 2023

## Slide 2: Getting Started
Navigate into the IES workshop folder
Open heron_input.xml
  VSCode
  Notepad
  Emacs

## Slide 3: Shortcut Reminder
Run the following commands to make running HERON & RAVEN easier:
Now your commands will look like this:

## Slide 4: System Configuration & Case Information
Project Lifetime | 3 Years
Discount Rate | 8%
Tax Rate | 30%
Inflation Rate | 6%
ARMA Samples | 25
Component | Capital Expenditure | Fixed O&M
Nuclear Power Plant (NPP) | $12.8M / MW | 
Wind Turbine | $1.3M / MW | $15,000 / MW
Steam Turbine | - | -
High Temperature Steam Electrolysis (HTSE) | $1.9M | $131,333
Hydrogen Storage | $1.2M | -
Component | Sales Price
Energy Grid Market | $100 / MW
Hydrogen Market | $8 / Kg
images: Flaticon.com

## Slide 5: Debug Mode

## Slide 6: Debug Mode Continued…

## Slide 7: Sweep Run
Now let’s go ahead and run an entire sweep case:

## Slide 8: Sweep Run Continued…
There should now be a sweep.csv inside of IES_o/
What system configuration provides the highest mean NPV?

## Slide 9: Now it’s time to play!
What would it take to make the system profitable in only three years?
What about a 20-year investment timeline?
  Try replacing the 3 year synthetic history with a 20-year one:
    The file-path:
    Remember to change ProjectTime
Try adding a Lithium-Ion Battery for electricity storage
How does std_NPV change as you increase the number of samples?
What would it take to run an optimizing case?
What happens if you fix the dispatch of the H2 Market and the grid?

## Slide 10: Hints… 20 Year Investment Horizon
You may also want to change the lifetime nodes to last longer than 5 years:

## Slide 11: Hints… Adding Lithium-Ion Battery
Start by copying the H2 Storage Node and then modifying as necessary

## Slide 12: Hints… Optimization Runs
Change all sweep_values to opt_bounds
Note: This may take a long time to run!
To see pre-run optimization results, look in: gold/IES_o/opt_soln_0.csv

## Slide 13: Hints… Fixing Grid Dispatch
Open:
IES_o/sweep/1/out~inner

## Slide 14: What We Didn’t Cover
Custom Dispatching Strategies
  Price-Taker vs. Price-Maker
Custom User-Defined Functions
Control Strategy for Storage
Different HERON Workflows:
  DISPATCHES
  MOPED
We are Open-Source!
  Open an issue on repository
  Contribute meaningful code changes